## Final Result
| Step-wise Carbon Abatement Pricing | CCS Only Emission Abatement | Continuation of Current UK Carbon Price | Increasing Carbon Price | Complete Ban of Thermal Powerplants | No Carbon Restriction
RS_CAPEX | 0 | 0 | 0 | 0 | 720.44 | 0
US_CAPEX | 11414.7 | 11414.7 | 11136.15 | 10255.05 | 15951.6 | 11090.25
ON_CAPEX | 14958.72 | 14958.72 | 15402.24 | 14842.24 | 8730.4 | 15498.56
OF_CAPEX | 48032.84 | 48032.84 | 47547.1 | 46847.83 | 54264.33 | 44851.08
NP_CAPEX | 49500 | 49500 | 49500 | 49500 | 48573.25 | 49500
HP_CAPEX | 0 | 0 | 0 | 0 | 6269.94 | 0
NG_CAPEX | 11141.3 | 11141.3 | 11210.1 | 17150.55 | 0 | 13226.8
Transmission Line | 2055.5161 | 2055.5161 | 2395.1104 | 1897.9684 | 0 | 2253.0097
Interconnector CAPEX | 2536.9323 | 2536.9323 | 2536.9323 | 2536.9323 | 2536.9323 | 2536.9323
Carbon Abatement Cost | 126.852 | 357.895 | 193.2808 | 2030 | 0 | 0
RS Gen Cost | 0 | 0 | 0 | 0 | 210 | 0
US Gen Cost | 5176 | 5268 | 5114 | 4734 | 4443 | 5048
ON Gen Cost | 9333 | 9096 | 9614 | 9561 | 5038 | 9802
OF Gen Cost | 34252 | 34566 | 33905 | 30393 | 39199 | 32347
NP Gen Cost | 27712 | 27637 | 27760 | 26330 | 27396 | 28438
HP Gen Cost | 0 | 0 | 0 | 0 | 1014 | 0
NG Gen Cost | 149 | 75 | 2653 | 19527 | 0 | 5506
Load Shedding Cost | 0 | 0 | 0 | 0 | 68143 | 0
Net Energy Trading | -51100 | -51100 | -54750 | -58400 | -49275 | -56575
| Carbon Abatement | CCS Only | UK Current | Increasing Carbon Cost | Complete Ban of Thermal Plant | No Carbon Cost
Total CAPEX | 139.64 | 139.64 | 139.7276 | 143.0306 | 137.0469 | 138.9566
Total OPEX | 76.7489 | 76.9999 | 79.2393 | 92.575 | 145.443 | 81.141
Trading Revenue | -51.1 | -51.1 | -54.75 | -58.4 | -49.275 | -56.575
Net present cost - considering trading revenue | 165.2889 | 165.5399 | 164.2169 | 177.2056 | 233.2149 | 163.5226
-7.9095
| -0.80564 |  |  |  | 42.6193
0.072096
41.0953

## Capacity
| Step-wise Carbon Abatement Pricing | CCS Only Emission Abatement | Continuation of Current UK Carbon Price | Increasing Carbon Price | Complete Ban of Thermal Powerplants | No Carbon Restriction
Rooftop solar | 0 | 0 | 0 | 0 | 1.162 | 0
Utility-scale solar | 25.366 | 25.869 | 24.747 | 22.789 | 35.448 | 24.645
Onshore wind | 13.356 | 12.99 | 13.752 | 13.252 | 7.795 | 13.838
Offshore wind | 29.468 | 29.727 | 29.17 | 28.741 | 33.291 | 27.516
Nuclear power | 18 | 18 | 18 | 18 | 17.663 | 18
Hydropower | 0 | 0 | 0 | 0 | 2.049 | 0
Natural gas | 5.182 | 5.179 | 5.214 | 7.977 | 0 | 6.152
| 91.372 | 91.765 | 90.883 | 90.759 | 97.408 | 90.151
1.1929
| 0.74629 | 0.74741 | 0.74457 | 0.71378 | 0.79763 | 0.73209
| 1.6882 | 1.6513 | 1.7344 | 1.8427 | 1.159 | 1.678
| 1.8992 | 1.9915 | 1.7995 | 1.7197 | 4.5475 | 1.781
| 0.59233 | 0.60559 | 0.57656 | 0.54269 | 0.86278 | 0.59595
| 0.32251 | 0.32395 | 0.32096 | 0.31667 | 0.34177 | 0.30522
91372 MW
91765 MW
90883 MW
90759 MW
97408 MW

## Emissions
Average Annual Emission
| Step-wise Carbon Abatement Pricing | CCS Only Emission Abatement | Continuation of Current UK Carbon Price | Increasing Carbon Price | No Carbon Restriction | Step-wise Carbon Abatement Pricing | CCS Only Emission Abatement | Continuation of Current UK Carbon Price | Increasing Carbon Price | No Carbon Restriction
2025 - 2030 | 0 | 0 | 0 | 10.5334 | 0 | 0 | 0 | 0 | 10.5334 | 0
2031 - 2035 | 0 | 0 | 0 | 4.5214 | 0 | 0 | 0 | 0 | 4.5214 | 0.29443
2036 - 2040 | 0 | 0 | 0.049262 | 5.7319 | 0 | 0 | 0 | 0.049262 | 5.7319 | 19.1841
2041 - 2045 | 0.20396 | 0.092215 | 4.3931 | 4.9574 | 22.6656 | 0.20396 | 0.092215 | 4.3931 | 4.9574 | 22.6656
2046 - 2050 | 0.52897 | 0.28595 | 4.6771 | 0.47312 | 24.0578 | 0.52897 | 0.28595 | 4.6771 | 0.47312 | 24.0578
Total Cost | 126.852 | 357.895 | 193.2808 | 2030 | 126.852
total emission | 3.6646 | 1.8908 | 45.351 | 27.1527 | 233.6169
total emission | 3.6646 | 1.8908 | 45.5973 | 131.0864 | 233.6169
|  |  |  | 131.0864 | 3404.1688
| 0 | 0 | 0 | 0.010533 | 0
| 0 | 0 | 0 | 0.0045214 | 0
| 0 | 0 | 4.9262e-05 | 0.0057319 | 0
| 0.00020396 | 9.2215e-05 | 0.0043931 | 0.0049574 | 0.022666
| 0.00052897 | 0.00028595 | 0.0046771 | 0.00047312 | 0.024058