## Capacity_8k - no thermal
node | RS_MW | US_MW | ON_MW | OF_MW | NP_MW | HP_MW | NG_MW
1 | [5 empty] | 786 |  |  | Installed Capacity [MW]
2 | [5 empty] | 1204 |  | RS_MW | 1162
3 |  |  | 749 | 577 |  |  |  | US_MW | 35448
4 |  |  |  | 1662 |  | 50 |  | ON_MW | 7795
5 |  |  |  |  | 3463 |  |  | OF_MW | 33291
6 | [7 empty] | NP_MW | 17663
7 | [7 empty] | NG_MW | 2049
8 | [8 empty] | 0
9 |  |  | 2883 | 798
10 |  |  | 2064
11 | 24 |  |  | 3170
12 | 1138 |  |  | 3234 | 2700
13 |  |  | 1369
14
15 |  | 2640
16 |  |  | 170 | 3372
17 | [5 empty] | 1
18 |  |  | 560 |  |  | 8
19 |  | 6068 |  | 6000
20 |  | 4567 |  | 2190 | 3200
21 |  | 11916
22
23 |  | 3454 |  |  | 2700
24
25 |  | 1546
26 |  |  |  | 3580 | 2400
27 |  | 2001 |  | 4115
28 |  | 3256 |  | 4593
29 |  |  |  |  | 3200
total | 1162 | 35448 | 7795 | 33291 | 17663 | 2049 | 0
unit cost GBP/MW | 620000 | 450000 | 1120000 | 1630000 | 2750000 | 3060000 | 2150000
| 720.44 | 15951.6 | 8730.4 | 54264.33 | 48573.25 | 6269.94 | 0
Total Gen Capex | 134509.96
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Total Transmission Line Capex
from_bus | to_bus | CAPEX_GBP | Binary Result
1 | 2 | 30844590 | 0 | Total Transmission Line CAPEX | 0 | million GBP 2025
1 | 3 | 15490252.8 | 0
2 | 3 | 37030835.52 | 0
2 | 4 | 24651071.2 | 0
3 | 4 | 98346052.8 | 0
4 | 7 | 72799879.2 | 0
4 | 6 | 30715779.6 | 0
4 | 5 | 30751000 | 0
5 | 6 | 28949029.6 | 0
6 | 9 | 181602036 | 0
7 | 8 | 58763671.2 | 0
6 | 7 | 69923572 | 0
8 | 10 | 151494553.2 | 0
9 | 11 | 150458492.8 | 0
9 | 10 | 22393222 | 0
10 | 15 | 353210035.2 | 0
11 | 15 | 148650868.8 | 0
11 | 13 | 80167131.2 | 0
11 | 12 | 178289179.2 | 0
12 | 13 | 98004392 | 0
12 | 18 | 194031552 | 0
13 | 18 | 199257312 | 0
13 | 15 | 49887977.6 | 0
13 | 14 | 76873680 | 0
14 | 16 | 56571144 | 0
15 | 16 | 232706148.8 | 0
14 | 15 | 185843000 | 0
16 | 19 | 339594332.8 | 0
16 | 17 | 156227686 | 0
17 | 22 | 208652220 | 0
17 | 18 | 146605182.4 | 0
18 | 23 | 135622758.8 | 0
20 | 26 | 159145325.6 | 0
19 | 20 | 132250921.2 | 0
16 | 21 | 456727756.8 | 0
21 | 25 | 66967197.6 | 0
20 | 21 | 141920334.4 | 0
19 | 21 | 255358825.2 | 0
16 | 22 | 307419771.6 | 0
22 | 25 | 90150663 | 0
21 | 22 | 80369132.8 | 0
23 | 24 | 195880432 | 0
22 | 23 | 225602782.4 | 0
23 | 29 | 141171385.2 | 0
24 | 28 | 118866176 | 0
24 | 25 | 71533625.6 | 0
25 | 26 | 328458268.8 | 0
26 | 27 | 85617660 | 0
27 | 28 | 331181776 | 0
28 | 29 | 287833638.4 | 0

## Final Result
[5 empty] | CCS | NB
RS_CAPEX | 720.44 | million GBP 2025 | 0 | Generation CAPEX | 134509.96 | 135047.56
US_CAPEX | 15951.6 | million GBP 2025 | 11641.05 | Net Cost of Infrastructure | 2509.9323 | 4564.4484
ON_CAPEX | 8730.4 | million GBP 2025 | 14548.8 | OPEX of Energy Generation | 77300 | 76622
OF_CAPEX | 54264.33 | million GBP 2025 | 48455.01 | Carbon Abatment Cost | 0 | 126.852
NP_CAPEX | 48573.25 | million GBP 2025 | 49500
HP_CAPEX | 6269.94 | million GBP 2025
NG_CAPEX | 0 | million GBP 2025 | 11134.85
Transmission Line | 0 | million GBP 2025 | 2395.1104
Interconnector CAPEX | 2536.9323 | million GBP 2025 | 2536.9323 |  | 214319.8923 | 216360.8603
Carbon Abatement Cost | 0 | million GBP 2025
RS Gen Cost | 210 | million GBP 2025
US Gen Cost | 4443 | million GBP 2025
ON Gen Cost | 5038 | million GBP 2025
OF Gen Cost | 39199 | million GBP 2025
NP Gen Cost | 27396 | million GBP 2025
HP Gen Cost | 1014 | million GBP 2025
NG Gen Cost | 0 | million GBP 2025
LS Cost | 68143 | million GBP 2025
Net Energy Trading | -27 | million GBP 2025
Total | 282462.8923 | million GBP 2025
|  |  |  | Graphs: | total CAPEX - OPEX stack
Installed Capacity Stack - secondary with total lifecycle cost