## Capacity_8k - no thermal
node | RS_MW | US_MW | ON_MW | OF_MW | NP_MW | HP_MW | NG_MW
1 | 271 |  |  | 1124 |  | 786 |  |  | Installed Capacity [MW]
2 | 220 |  | 2414 |  |  | 1204 |  | RS_MW | 23781
3 |  |  | 1686 |  |  |  |  | US_MW | 21239
4 |  |  | 148 | 4426 |  | 50 |  | ON_MW | 23230
5 | 1440 |  | 3364 |  |  | 50 |  | OF_MW | 30527
6 | 1342 |  | 1450 |  |  |  |  | NP_MW | 0
7 | 89 |  |  | 1354 |  |  |  | HP_MW | 2099
8 | 226 | [6 empty] | NG_MW | 0
9 | 211 |  | 2883 | 975
10 | 1822 |  | 2064
11 | 1147 |  | 243 | 1803
12 | 1138
13 | 2085 |  | 470
14 | 857 |  | 1307
15 | 1505
16 | 429 |  | 170 | 521
17 | 846 |  |  |  |  | 1
18 | 2150 |  | 560 |  |  | 8
19 | 353 |  | 5590 | 6000
20 | 671 | 3267 |  | 4513
21 | 666 | 7486
22 | 719
23 | 323 | 2488
24
25 | 2502 | 3117
26 | 972 | 469 |  | 6169
27 | 269 | 2352 | 881 | 3550
28 | 1017 | 1144 |  | 92
29 | 511 | 916
total | 23781 | 21239 | 23230 | 30527 | 0 | 2099 | 0
unit cost GBP/MW | 620000 | 450000 | 1120000 | 1630000 | 2750000 | 3060000 | 2150000
| 14744.22 | 9557.55 | 26017.6 | 49759.01 | 0 | 6422.94 | 0
Total Gen Capex | 106501.32
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Total Transmission Line Capex
from_bus | to_bus | CAPEX_GBP | Binary Result
1 | 2 | 30844590 | 1 | Total Transmission Line CAPEX | 2635.4287 | million GBP 2025
1 | 3 | 15490252.8 | 1
2 | 3 | 37030835.52 | 1
2 | 4 | 24651071.2 | 1
3 | 4 | 98346052.8 | 1
4 | 7 | 72799879.2 | 1
4 | 6 | 30715779.6 | 1
4 | 5 | 30751000 | 1
5 | 6 | 28949029.6 | 1
6 | 9 | 181602036 | 1
7 | 8 | 58763671.2 | 1
6 | 7 | 69923572 | 1
8 | 10 | 151494553.2 | 1
9 | 11 | 150458492.8 | 1
9 | 10 | 22393222 | 1
10 | 15 | 353210035.2 | 0
11 | 15 | 148650868.8 | 1
11 | 13 | 80167131.2 | 0
11 | 12 | 178289179.2 | 0
12 | 13 | 98004392 | 0
12 | 18 | 194031552 | 0
13 | 18 | 199257312 | 0
13 | 15 | 49887977.6 | 1
13 | 14 | 76873680 | 1
14 | 16 | 56571144 | 1
15 | 16 | 232706148.8 | 0
14 | 15 | 185843000 | 0
16 | 19 | 339594332.8 | 0
16 | 17 | 156227686 | 1
17 | 22 | 208652220 | 0
17 | 18 | 146605182.4 | 0
18 | 23 | 135622758.8 | 0
20 | 26 | 159145325.6 | 0
19 | 20 | 132250921.2 | 1
16 | 21 | 456727756.8 | 0
21 | 25 | 66967197.6 | 1
20 | 21 | 141920334.4 | 1
19 | 21 | 255358825.2 | 0
16 | 22 | 307419771.6 | 1
22 | 25 | 90150663 | 0
21 | 22 | 80369132.8 | 1
23 | 24 | 195880432 | 0
22 | 23 | 225602782.4 | 0
23 | 29 | 141171385.2 | 0
24 | 28 | 118866176 | 0
24 | 25 | 71533625.6 | 0
25 | 26 | 328458268.8 | 1
26 | 27 | 85617660 | 1
27 | 28 | 331181776 | 0
28 | 29 | 287833638.4 | 0

## Final Result
[5 empty] | CCS | NB
RS_CAPEX | 14744.22 | million GBP 2025 | 0 | Generation CAPEX | 106501.32 | 135047.56
US_CAPEX | 9557.55 | million GBP 2025 | 11641.05 | Net Cost of Infrastructure | 5163.4287 | 4564.4484
ON_CAPEX | 26017.6 | million GBP 2025 | 14548.8 | OPEX of Energy Generation | 856993 | 76622
OF_CAPEX | 49759.01 | million GBP 2025 | 48455.01 | Carbon Abatment Cost | 0 | 126.852
NP_CAPEX | 0 | million GBP 2025 | 49500
HP_CAPEX | 6422.94 | million GBP 2025
NG_CAPEX | 0 | million GBP 2025 | 11134.85
Transmission Line | 2635.4287 | million GBP 2025 | 2395.1104
Interconnector CAPEX | 2536 | million GBP 2025 | 2536.9323
Carbon Abatement Cost | 0 | million GBP 2025 |  |  | 3404168.814 |  | 0
RS Gen Cost | 4314 | million GBP 2025
US Gen Cost | 4180 | million GBP 2025
ON Gen Cost | 15025 | million GBP 2025
OF Gen Cost | 36146 | million GBP 2025
NP Gen Cost | 0 | million GBP 2025
HP Gen Cost | 1489 | million GBP 2025
NG Gen Cost | 0 | million GBP 2025
LS Cost | 795839 | million GBP 2025
Net Energy Trading | -8 | million GBP 2025
Total | 968657.7487 | million GBP 2025
|  |  |  | Graphs: | total CAPEX - OPEX stack
Installed Capacity Stack - secondary with total lifecycle cost