## Capacity_8k - no thermal
node | RS_MW | US_MW | ON_MW | OF_MW | NP_MW | HP_MW | NG_MW
1 | [6 empty] | 294 |  | Installed Capacity [MW]
2 | [7 empty] | RS_MW | 0
3 |  |  | 2007 |  |  |  |  | US_MW | 14522
4 | [7 empty] | ON_MW | 11553
5 |  |  |  |  | 3800 |  | 476 | OF_MW | 8622
6 | [6 empty] | 1236 | NP_MW | 18000
7 |  |  | 1471 |  |  |  |  | HP_MW | 0
8 | [7 empty] | NG_MW | 35704
9 |  |  | 1650
10 |  |  | 1963 |  |  |  | 8398
11 |  |  |  | 378 |  |  | 3630
12 |  |  |  | 2446 | 2700
13 |  |  | 2601
14 | [6 empty] | 3676
15 |  | 2640
16 |  |  | 170 | 851
17
18 |  |  | 560
19 |  |  | 446 | 4947 |  |  | 381
20 |  | 3037 |  |  | 3200 |  | 3596
21
22
23 |  |  |  |  | 2700 |  | 1749
24 | [6 empty] | 6927
25
26 |  |  |  |  | 2400
27 |  | 7785 | 685
28 | [6 empty] | 3023
29 |  | 1060 |  |  | 3200 |  | 2318
total | 0 | 14522 | 11553 | 8622 | 18000 | 0 | 35704
unit cost GBP/MW | 620000 | 450000 | 1120000 | 1630000 | 2750000 | 3060000 | 2150000
| 0 | 6534.9 | 12939.36 | 14053.86 | 49500 | 0 | 76763.6
Total Gen Capex | 159791.72
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Total Transmission Line Capex
from_bus | to_bus | CAPEX_GBP | Binary Result
1 | 2 | 30844590 | 0 | Total Transmission Line CAPEX | 0 | million GBP 2025
1 | 3 | 15490252.8 | 0
2 | 3 | 37030835.52 | 0
2 | 4 | 24651071.2 | 0
3 | 4 | 98346052.8 | 0
4 | 7 | 72799879.2 | 0
4 | 6 | 30715779.6 | 0
4 | 5 | 30751000 | 0
5 | 6 | 28949029.6 | 0
6 | 9 | 181602036 | 0
7 | 8 | 58763671.2 | 0
6 | 7 | 69923572 | 0
8 | 10 | 151494553.2 | 0
9 | 11 | 150458492.8 | 0
9 | 10 | 22393222 | 0
10 | 15 | 353210035.2 | 0
11 | 15 | 148650868.8 | 0
11 | 13 | 80167131.2 | 0
11 | 12 | 178289179.2 | 0
12 | 13 | 98004392 | 0
12 | 18 | 194031552 | 0
13 | 18 | 199257312 | 0
13 | 15 | 49887977.6 | 0
13 | 14 | 76873680 | 0
14 | 16 | 56571144 | 0
15 | 16 | 232706148.8 | 0
14 | 15 | 185843000 | 0
16 | 19 | 339594332.8 | 0
16 | 17 | 156227686 | 0
17 | 22 | 208652220 | 0
17 | 18 | 146605182.4 | 0
18 | 23 | 135622758.8 | 0
20 | 26 | 159145325.6 | 0
19 | 20 | 132250921.2 | 0
16 | 21 | 456727756.8 | 0
21 | 25 | 66967197.6 | 0
20 | 21 | 141920334.4 | 0
19 | 21 | 255358825.2 | 0
16 | 22 | 307419771.6 | 0
22 | 25 | 90150663 | 0
21 | 22 | 80369132.8 | 0
23 | 24 | 195880432 | 0
22 | 23 | 225602782.4 | 0
23 | 29 | 141171385.2 | 0
24 | 28 | 118866176 | 0
24 | 25 | 71533625.6 | 0
25 | 26 | 328458268.8 | 0
26 | 27 | 85617660 | 0
27 | 28 | 331181776 | 0
28 | 29 | 287833638.4 | 0

## Final Result
[5 empty] | CCS | NB
RS_CAPEX | 0 | million GBP 2025 | 0 | Generation CAPEX | 159791.72 | 135047.56
US_CAPEX | 6534.9 | million GBP 2025 | 11641.05 | Net Cost of Infrastructure | 0 | 4564.4484
ON_CAPEX | 12939.36 | million GBP 2025 | 14548.8 | OPEX of Energy Generation | 71051 | 76622
OF_CAPEX | 14053.86 | million GBP 2025 | 48455.01 | Carbon Abatment Cost | 7431 | 126.852
NP_CAPEX | 49500 | million GBP 2025 | 49500
HP_CAPEX | 0 | million GBP 2025
NG_CAPEX | 76763.6 | million GBP 2025 | 11134.85
Transmission Line | 0 | million GBP 2025 | 2395.1104
Interconnector CAPEX | 0 | million GBP 2025 | 2536.9323
Carbon Abatement Cost | 7431 | million GBP 2025 |  |  | 3404168.814 |  | 0
RS Gen Cost | 0 | million GBP 2025
US Gen Cost | 2909 | million GBP 2025
ON Gen Cost | 7997 | million GBP 2025
OF Gen Cost | 10172 | million GBP 2025
NP Gen Cost | 27708 | million GBP 2025
HP Gen Cost | 0 | million GBP 2025
NG Gen Cost | 22265 | million GBP 2025
LS Cost | 0 | million GBP 2025
Net Energy Trading | 0 | million GBP 2025
Total | 238273.72 | million GBP 2025
|  |  |  | Graphs: | total CAPEX - OPEX stack
Installed Capacity Stack - secondary with total lifecycle cost