## Capacity_8k - no thermal
node | RS_MW | US_MW | ON_MW | OF_MW | NP_MW | HP_MW | NG_MW
1 | [6 empty] | 1107 |  | Installed Capacity [MW]
2 | [6 empty] | 706 | RS_MW | 11435
3 |  |  | 3086 |  |  |  | 209 | US_MW | 14884
4 | [7 empty] | ON_MW | 14212
5 |  |  |  |  | 3800 |  | 323 | OF_MW | 7165
6 | 1342 | [5 empty] | 1259 | NP_MW | 18000
7 |  |  | 1578 |  |  |  | 668 | HP_MW | 0
8 | 226 | [6 empty] | NG_MW | 35213
9 |  |  | 2560
10 |  |  | 2064
11 | 1147 |  | 3 |  |  |  | 1101
12 |  |  |  | 1981 | 2700 |  | 3356
13 | 1863 |  | 2645 |  |  |  | 3149
14 | [6 empty] | 11510
15 |  | 2640
16 | 429 |  | 170 | 1972
17
18 |  |  | 560
19 |  |  | 665 | 2577 |  |  | 4382
20 | 671 | 4215 |  |  | 3200 |  | 706
21 | 666 | [5 empty] | 175
22 | [6 empty] | 393
23 |  | 1675 |  |  | 2700 |  | 256
24 | 1303
25 | 2502
26 |  |  |  |  | 2400 |  | 2232
27 | 269 | 6354 | 881 | 635
28 | 1017
29 |  |  |  |  | 3200 |  | 3681
total | 11435 | 14884 | 14212 | 7165 | 18000 | 0 | 35213
unit cost GBP/MW | 620000 | 450000 | 1120000 | 1630000 | 2750000 | 3060000 | 2150000
| 7089.7 | 6697.8 | 15917.44 | 11678.95 | 49500 | 0 | 75707.95
Total Gen Capex | 166591.84
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Total Transmission Line Capex
from_bus | to_bus | CAPEX_GBP | Binary Result
1 | 2 | 30844590 | 1 | Total Transmission Line CAPEX | 169.332 | million GBP 2025
1 | 3 | 15490252.8 | 1
2 | 3 | 37030835.52 | 0
2 | 4 | 24651071.2 | 1
3 | 4 | 98346052.8 | 1
4 | 7 | 72799879.2 | 0
4 | 6 | 30715779.6 | 0
4 | 5 | 30751000 | 0
5 | 6 | 28949029.6 | 0
6 | 9 | 181602036 | 0
7 | 8 | 58763671.2 | 0
6 | 7 | 69923572 | 0
8 | 10 | 151494553.2 | 0
9 | 11 | 150458492.8 | 0
9 | 10 | 22393222 | 0
10 | 15 | 353210035.2 | 0
11 | 15 | 148650868.8 | 0
11 | 13 | 80167131.2 | 0
11 | 12 | 178289179.2 | 0
12 | 13 | 98004392 | 0
12 | 18 | 194031552 | 0
13 | 18 | 199257312 | 0
13 | 15 | 49887977.6 | 0
13 | 14 | 76873680 | 0
14 | 16 | 56571144 | 0
15 | 16 | 232706148.8 | 0
14 | 15 | 185843000 | 0
16 | 19 | 339594332.8 | 0
16 | 17 | 156227686 | 0
17 | 22 | 208652220 | 0
17 | 18 | 146605182.4 | 0
18 | 23 | 135622758.8 | 0
20 | 26 | 159145325.6 | 0
19 | 20 | 132250921.2 | 0
16 | 21 | 456727756.8 | 0
21 | 25 | 66967197.6 | 0
20 | 21 | 141920334.4 | 0
19 | 21 | 255358825.2 | 0
16 | 22 | 307419771.6 | 0
22 | 25 | 90150663 | 0
21 | 22 | 80369132.8 | 0
23 | 24 | 195880432 | 0
22 | 23 | 225602782.4 | 0
23 | 29 | 141171385.2 | 0
24 | 28 | 118866176 | 0
24 | 25 | 71533625.6 | 0
25 | 26 | 328458268.8 | 0
26 | 27 | 85617660 | 0
27 | 28 | 331181776 | 0
28 | 29 | 287833638.4 | 0

## Final Result
[5 empty] | CCS | NB
RS_CAPEX | 7089.7 | million GBP 2025 | 0 | Generation CAPEX | 166591.84 | 135047.56
US_CAPEX | 6697.8 | million GBP 2025 | 11641.05 | Net Cost of Infrastructure | 169.332 | 4564.4484
ON_CAPEX | 15917.44 | million GBP 2025 | 14548.8 | OPEX of Energy Generation | 68677 | 76622
OF_CAPEX | 11678.95 | million GBP 2025 | 48455.01 | Carbon Abatment Cost | 22872 | 126.852
NP_CAPEX | 49500 | million GBP 2025 | 49500
HP_CAPEX | 0 | million GBP 2025
NG_CAPEX | 75707.95 | million GBP 2025 | 11134.85
Transmission Line | 169.332 | million GBP 2025 | 2395.1104
Interconnector CAPEX | 0 | million GBP 2025 | 2536.9323
Carbon Abatement Cost | 22872 | million GBP 2025 |  |  | 3404168.814 |  | 0
RS Gen Cost | 2256 | million GBP 2025
US Gen Cost | 2958 | million GBP 2025
ON Gen Cost | 9977 | million GBP 2025
OF Gen Cost | 8242 | million GBP 2025
NP Gen Cost | 26833 | million GBP 2025
HP Gen Cost | 0 | million GBP 2025
NG Gen Cost | 16055 | million GBP 2025
LS Cost | 2356 | million GBP 2025
Net Energy Trading | 0 | million GBP 2025
Total | 258310.172 | million GBP 2025
|  |  |  | Graphs: | total CAPEX - OPEX stack
Installed Capacity Stack - secondary with total lifecycle cost