## Foreword & Content
MSc Energy Systems Dissertation
Two-stage stochastic optimization modelling for achieving a low carbon energy system in Great Britain through 2050
Student: | Evan C.Y. Ng |  | Supervisor: | Dr Iacopo Savelli
This document contains all the raw data collected along with the processed data used as the input for stochastic modelling to generate the outputs presented in the dissertation report. Within each sheet, the relevant metadata, references, assumptions, and data processing methodologies are outlined. The database documentation allows the readers to reproduce the results generated in the research, as well as to adjust the technical and economical assumptions made in the input as the energy system evolves - ensuring that the model developed can be adapted for future analysis.
Table of Content (with hyperlink to tab)
Tab 1: | Generation Capital Cost (CAPEX)
Tab 2: | Energy Generation Cost (OPEX)
Tab 3: | Generators' Capacity Constraint
Tab 4: | Thermal Peaking Plant Emission Factor
Tab 5: | Carbon Emissions Abatement Cost
Tab 6: | Carbon Abatement Limits on Nature-based Solutions
Tab 7: | Discounted Load Shedding Cost
Tab 8: | Interconnector Technical and Economical Detail
Tab 9: | Transmission Network Technical Detail
Reccomended Citation: Ng, Chee Yang and Savelli, Iacopo, "Open Source Database for MSc Energy System Dissertation: Two-stage stochastic optimization modelling for achieving a low carbon energy system in Great Britain through 2050", University of Oxford, 2021

## Generation Capital Cost
Metadata: For consistency purposes, the respective average capital cost for all generation technologies considered is obtained from the latest official reports published by the UK's Department for Business, Energy & Industrial Strategy (BEIS). As some generation technologies, such as modern coal fire powerplant have not been implemented in the UK and do not have a cost estimation before 2025 - this report will take 2025 as the base year for all relevant cost data collected from BEIS. To ensure that the capital cost adopted are representative of the actual cost involved in deploying relevant generation technologies, both the pre-development cost and the construction cost are included in the CAPEX approximation. |  |  |  | Return to Home
Utilization of Data: The generation capital cost data is used as the cost input for the first stage of the sotchastic model, namely IRE, IBL, and ITP.
Asumptions: The data adopted technology classifications of BEIS, including assuming that all utility-scale solar is at least 5 MW and the size of building rooftop solars are between 1 - 5 MW. Additionally, all nuclear powerplants are assumed to be pressurized water reactor (PWR) type, as it allows flexible operations for load following as intended by the proposed future energy system, given the changing role of nuclear power in Europe. All hydropower plants considered in the analysis are assumed to be the run-on-river type, as they were modelled as baseload generators capable of continuously producing a stable output. Natural gas peaking plants are assumed to be Combined Cycle Gas Turbine (CCGT) facilities equipped with H Class turbines as that is the latest industrial standard given their high efficiency compared to older models. Bioelectric plants are assumed to be dedicated biomass facility given the high energy density of the fuel source used in these plants, an appropriate assumption to make for a future scenario where significant land is anticipated to be used for renewable deployment. Lastly, all modern coal plants are assumed to be Integrated Gasification Combined Cycle (IGCC) type due to their reduced environmental impacts.
References: [1] BEIS, “Electricity Generation Cost Report 2020,” BEIS Electr. Gener. Cost Rep., no. August, p. 69, 2020. [2] BEIS, “Electricity Generation Costs Report 2016,” BEIS Electr. Gener. Cost Rep., no. November, p. 85, 2016
Technology | Pre Development Cost [million £/MW] | Construction Cost [million £/MW] | CAPEX [million £/MW]
Rooftop solar PV | 0.02 | 0.6 | 0.62
Utility-scale solar | 0.05 | 0.4 | 0.45
Onshore wind | 0.12 | 1 | 1.12
Offshore wind | 0.13 | 1.5 | 1.63
Nuclear powerplant | 0.24 | 4.1 | 4.34
Hydropower plant | 0.06 | 3 | 3.06
Natural gas plant | 0.05 | 2.1 | 2.15
Bioelectric plant | 0.11 | 2.8 | 2.91
Modern coal plant | 0.04 | 2.8 | 2.84

## Energy Generation Cost
| Metadata: For consistency purposes, the data used to compute the respective average energy generation cost in 2025 for all generation technologies considered is obtained from the latest official reports published by the UK's Department for Business, Energy & Industrial Strategy (BEIS). The total OPEX for each technology is calculated by summing the fixed O&M cost, variable O&M cost, and fuel cost required per unit of energy generated provided by BEIS. Each technology's energy generation cost is assumed to be discounted annually based on their respective technology specific discount rate (hurdle rate, which is the minimum rate of return that the relevant project requires to break even) as this allows for the internalization of the associated risk of each technology as recommended by BEIS. | [9 empty] | Return to Home
Utilization of Data: The annual energy generation cost is used as the cost input for the second stage of the sotchastic model, namely ORE, OBL, and OTP.
Assumptions: A constant discount rate is assumed for each generation technology - however, this assumption is reasonable as the investment decisions (ie. loan & financing scheme approval, along with government tax) for generation facility deployment are generally made based on a constant discount rate.
References: [1] BEIS, “Electricity Generation Cost Report 2020,” BEIS Electr. Gener. Cost Rep., no. August, p. 69, 2020. [2] BEIS, “Electricity Generation Costs Report 2016,” BEIS Electr. Gener. Cost Rep., no. November, p. 85, 2016
| Discounted OPEX under each technology's specific discount rate [£/MWh] | [8 empty] | Interest rate: | 0.06
Discount rate [p.u.] | 0.065 | 0.065 | 0.067 | 0.089 | 0.089 | 0.089 | 0.078 | 0.092 | 0.078
Year | Rooftop solar PV | Utility-scale solar | Onshore wind | Offshore wind | Nuclear powerplant | Hydropower plant | Natural gas plant | Bioelectric plant | Modern coal plant |  | Year
2025 | 13 | 10 | 16 | 22 | 21 | 22 | 46 | 57 | 36 |  | 0
2026 | 12.2066 | 9.3897 | 14.9953 | 20.202 | 19.2837 | 20.202 | 42.6716 | 52.1978 | 33.3952 |  | 1
2027 | 11.4616 | 8.8166 | 14.0537 | 18.551 | 17.7078 | 18.551 | 39.5841 | 47.8002 | 30.9788 |  | 2
2028 | 10.762 | 8.2785 | 13.1712 | 17.0349 | 16.2606 | 17.0349 | 36.7199 | 43.7731 | 28.7373 |  | 3
2029 | 10.1052 | 7.7732 | 12.3442 | 15.6427 | 14.9316 | 15.6427 | 34.063 | 40.0852 | 26.658 |  | 4
2030 | 9.4885 | 7.2988 | 11.5691 | 14.3643 | 13.7113 | 14.3643 | 31.5983 | 36.7081 | 24.7291 |  | 5
2031 | 8.9093 | 6.8533 | 10.8426 | 13.1903 | 12.5908 | 13.1903 | 29.312 | 33.6155 | 22.9398 |  | 6
2032 | 8.3656 | 6.4351 | 10.1618 | 12.1123 | 11.5618 | 12.1123 | 27.1911 | 30.7834 | 21.28 |  | 7
2033 | 7.855 | 6.0423 | 9.5237 | 11.1224 | 10.6169 | 11.1224 | 25.2236 | 28.1899 | 19.7402 |  | 8
2034 | 7.3756 | 5.6735 | 8.9257 | 10.2134 | 9.7492 | 10.2134 | 23.3986 | 25.8149 | 18.3119 |  | 9
2035 | 6.9254 | 5.3273 | 8.3652 | 9.3787 | 8.9524 | 9.3787 | 21.7055 | 23.6401 | 16.9869 |  | 10
2036 | 6.5028 | 5.0021 | 7.8399 | 8.6122 | 8.2208 | 8.6122 | 20.135 | 21.6484 | 15.7578 |  | 11
2037 | 6.1059 | 4.6968 | 7.3476 | 7.9084 | 7.5489 | 7.9084 | 18.6781 | 19.8245 | 14.6176 |  | 12
2038 | 5.7332 | 4.4102 | 6.8862 | 7.2621 | 6.932 | 7.2621 | 17.3266 | 18.1543 | 13.56 |  | 13
2039 | 5.3833 | 4.141 | 6.4538 | 6.6686 | 6.3654 | 6.6686 | 16.0729 | 16.6249 | 12.5788 |  | 14
2040 | 5.0547 | 3.8883 | 6.0486 | 6.1236 | 5.8452 | 6.1236 | 14.91 | 15.2242 | 11.6687 |  | 15
2041 | 4.7462 | 3.651 | 5.6688 | 5.6231 | 5.3675 | 5.6231 | 13.8311 | 13.9416 | 10.8244 |  | 16
2042 | 4.4566 | 3.4281 | 5.3128 | 5.1636 | 4.9288 | 5.1636 | 12.8304 | 12.767 | 10.0412 |  | 17
2043 | 4.1846 | 3.2189 | 4.9792 | 4.7416 | 4.526 | 4.7416 | 11.902 | 11.6914 | 9.3146 |  | 18
2044 | 3.9292 | 3.0224 | 4.6666 | 4.354 | 4.1561 | 4.354 | 11.0408 | 10.7064 | 8.6406 |  | 19
2045 | 3.6894 | 2.838 | 4.3735 | 3.9982 | 3.8165 | 3.9982 | 10.2419 | 9.8044 | 8.0154 |  | 20
2046 | 3.4642 | 2.6648 | 4.0989 | 3.6714 | 3.5046 | 3.6714 | 9.5009 | 8.9784 | 7.4355 |  | 21
2047 | 3.2528 | 2.5021 | 3.8415 | 3.3714 | 3.2181 | 3.3714 | 8.8134 | 8.222 | 6.8975 |  | 22
2048 | 3.0542 | 2.3494 | 3.6003 | 3.0959 | 2.9551 | 3.0959 | 8.1757 | 7.5293 | 6.3984 |  | 23
2049 | 2.8678 | 2.206 | 3.3742 | 2.8428 | 2.7136 | 2.8428 | 7.5842 | 6.895 | 5.9354 |  | 24
2050 | 2.6928 | 2.0714 | 3.1623 | 2.6105 | 2.4919 | 2.6105 | 7.0354 | 6.3141 | 5.506 |  | 25
26
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49

## Generators' Capacity Constraint
Metadata: The maximum installed capacity of each generation technology at a given locational node is obtained from an extensive review of literature, considering the technical, political, social, and economic feasibility of low carbon energy technology deployments. Solar PV potential is obtained by first taking the total rooftop space available in a 25 km radius from the centroid of the closest city using QGIS (the radius of 25 km is chosen to avoid overlap of location node coverage while maximizing the rooftop space within each node, and assuming 30% of these rooftop space are usable for rooftop solar deployment - subsequently, multiply the available rooftop area by a UK average rooftop PV potential of 0.125 kW/m2. Utility-scale solar only considers the sites identified by literature to be a distance from environmentally and socially sensitive area that can allow for the economical deployment of large scale solar technology - using a typical UK potential value of 7 kW/m2. Similarly, the selection of onshore wind sites are also obtained by considering literature that identifies socially and environmentally feasible location in Great Britain - and subsequently converting these areas into potential installed capacity using a typical UK onshore wind energy density of 3.2 MW/km2. The offshore wind sites are selected based on a literature review - including only potential sites that can be economically developed with a reasonable depth. As nuclear powerplants' installed capacity is limited by government approval and safety considerations, only the 8 pre-approved nuclear sites (that are yet to be developed) are considered in this model - as obtaining licences to operate nuclear plants outside of these areas will likely face notable social and political push back. Lastly, hydropower potential is obtained from a PhD thesis that identifies Great Britain's run-on-river hydropower potential, considering the technical, economical, and social factors. | [8 empty] | Return to Home
Utilization of Data: The maximum installed capacity for each technology is used as the capacity constraints of respective technology, CmaxRE and CmaxBL, limiting the respective total installed capacity at each node.
Assumptions: All potential sites for low carbon energy technology are assigned to the closest locational node presented in the simplified network model. The total potential is calculated using the current technologies, however, when further technological advancement is realized, these numbers can be updated accordingly to reflect the most up-to-date low carbon energy potential.
References: [1] J. E. Sample, N. Duncan, M. Ferguson, and S. Cooksley, “Scotland’s hydropower: Current capacity, future potential and the possible impacts of climate change,” Renew. Sustain. Energy Rev., vol. 52, pp. 111–122, 2015, doi: 10.1016/j.rser.2015.07.071. [2] N. J. Duncan, “Mapping Scotland’s Hydropower Resource - PhD Thesis,” University of Edinghburg, 2014. [3] Department for Buisiness Energy and Industrial Strategy (BEIS): March 2021, “Renewable Energy Planning Database quarterly extract,” 2021. [4] S. Cavazzi and A. G. Dutton, “An Offshore Wind Energy Geographic Information System (OWE-GIS) for assessment of the UK’s offshore wind energy potential,” Renew. Energy, vol. 87, no. 2016, pp. 212–228, 2016, doi: 10.1016/j.renene.2015.09.021. [5] M. Harper, B. Anderson, P. James, and A. B. Bahaj, “Assessing socially acceptable locations for onshore wind energy using a GIS-MCDA approach,” Int. J. Low-Carbon Technol., vol. 14, no. 2, pp. 160–169, 2019, doi: 10.1093/ijlct/ctz006. [6] P. Enevoldsen et al., “How much wind power potential does europe have? Examining european wind power potential with an enhanced socio-technical atlas,” Energy Policy, vol. 132, no. April, pp. 1092–1100, 2019, doi: 10.1016/j.enpol.2019.06.064. [7] D. S. Ryberg, Z. Tulemat, D. Stolten, and M. Robinius, “Uniformly constrained land eligibility for onshore European wind power,” Renew. Energy, vol. 146, pp. 921–931, 2020, doi: 10.1016/j.renene.2019.06.127. [8] UK Department for Business Energy and Industrial Strategy [BEIS], “Modelling 2050: Electricity System Analysis,” no. December, p. 34, 2020, [Online]. Available: https://www.gov.uk/government/publications/modelling-2050-electricity-system-analysis. [9] J. Price, M. Zeyringer, D. Konadu, Z. Sobral Mourão, A. Moore, and E. Sharp, “Low carbon electricity systems for Great Britain in 2050: An energy-land-water perspective,” Appl. Energy, vol. 228, no. July, pp. 928–941, 2018, doi: 10.1016/j.apenergy.2018.06.127. [10] National Audit Office, “Nuclear power in the UK,” Dep. Energy Clim. Chang., 2016. [11] D. Palmer, E. Koumpli, I. Cole, R. Gottschalg, and T. Betts, “A GIS-based method for identification of wide area rooftop suitability for minimum size PV systems using LiDAR data and photogrammetry,” Energies, vol. 11, no. 12, 2018, doi: 10.3390/en11123506. [12] D. Palmer, R. Gottschalg, and T. Betts, “The future scope of large-scale solar in the UK: Site suitability and target analysis,” Renew. Energy, vol. 133, pp. 1136–1146, 2019, doi: 10.1016/j.renene.2018.08.109. [13] I. Konstantelos et al., “Integrated North Sea grids: The costs, the benefits and their distribution between countries,” Energy Policy, vol. 101, no. November 2016, pp. 28–41, 2017, doi: 10.1016/j.enpol.2016.11.024. [14] M. Lockwood, A. Froggatt, G. Wright, and J. Dutton, “The implications of Brexit for the electricity sector in Great Britain: Trade-offs between market integration and policy influence,” Energy Policy, vol. 110, no. June, pp. 137–143, 2017, doi: 10.1016/j.enpol.2017.08.021. [15] Pöyry Management Consulting Ltd., “Costs and benefits of GB interconnection: A Pöyry report th the National Infrastructure Comission,” no. February, pp. 1–54, 2016. [16] G. C. Gissey et al., “The value of international electricity trading,” 2019. [17] European Commission, “Energy Prices and Costs in Europe: Report from The Commission to the European Parliament, the Council, the European Economic and Social Committee and The Committee of the Regions,” 2020. [18] Fraunhofer Institute for Systems and Innovation Research ISI, “Electricity costs of energy intensive industries in Iceland: A comparison with energy intensive industries in selected countries,” 2020. [19] European Commission, “Quarterly Report on European Electricity Markets (first quarter of 2019),” Mark. Obs. Energy, vol. 12, no. 1, first quarter of 2019, pp. 1–39, 2019. [20] European Commission, “Quarterly Report on European Electricity Markets (second quarter of 2019),” Mark. Obs. Energy, vol. 12, no. 2, 2019. [21] European Commission, “Quarterly Report on European Electricity Markets (third quarter of 2019),” Mark. Obs. Energy, vol. 13, no. 3, 2019. [22] European Commission, “Quarterly Report on European Electricity Markets (fourth quarter of 2019),” Mark. Obs. Energy, vol. 12, no. 4 4thQ 2019, 2020. [23] Commission for Regulation of Utilities, “Greenlink Electricity Interconnector ‘Cap and Floor Regulatory Framework,’” 2021. [24] Ofgem, “Consultation: Cap and floor regime: Initial Project Assessment of the FAB Link , IFA2 , Viking Link and Greenlink interconnectors. Office of Gas and Electricity Markets,” 2015. [Online]. Available: https://www.ofgem.gov.uk/publications-and-updates/cap-and-floor-regime-initial-project-assessment-fab-link-ifa2-viking-link-and-greenlink-interconnectors. [25] Aquind Limited, “Exhibit 1: AQUIND revenue and social welfare analysis 2020,” 2020. [26] Pöyry Management Consulting Ltd. and Kvika Bank, “Interconnector between Iceland and GB: cost benefit analysis and impact assessment Presentation for UK-ICE Energy Task Force,” 2016. [27] A. Shivakumar et al., “Valuing blackouts and lost leisure: Estimating electricity interruption costs for households across the European Union,” Energy Res. Soc. Sci., vol. 34, no. June, pp. 39–48, 2017, doi: 10.1016/j.erss.2017.05.010. [28] London Economics, “The Value of Lost Load (VoLL) for Electricity in Great Britain: Final report for OFGEM and DECC,” Reports OFGEM DECC, no. July, pp. 1–225, 2013, [Online]. Available: https://www.gov.uk/government/uploads/system/uploads/attachment_data/file/224028/value_lost_load_electricty_gb.pdf. [29] B. W. Griscom et al., “Natural climate solutions,” Proc. Natl. Acad. Sci. U. S. A., vol. 114, no. 44, pp. 11645–11650, 2017, doi: 10.1073/pnas.1710465114. [30] H. Malcolm, P. Henshall, and R. Matthews, “Mapping Carbon Emissions & Removals for the Land Use , Land Use Change & Forestry Sector,” Natl. Atmos. Emiss. Invent., no. June, 2019. [31] R. Stafford, B. Chamberlain, P. Gillingham, and S. Mckain, “Nature-based Solutions for Climate Change in the UK: A report by the British Ecological Society,” Br. Ecol. Soc. Publ., 2021. [32] C. Hepburn et al., “The technological and economic prospects for CO2 utilization and removal,” Nature, vol. 575, no. 7781, pp. 87–97, 2019, doi: 10.1038/s41586-019-1681-6. [33] H. A. Daggash, C. F. Heuberger, and N. Mac Dowell, “The role and value of negative emissions technologies in decarbonising the UK energy system,” Int. J. Greenh. Gas Control, vol. 81, no. July 2018, pp. 181–198, 2019, doi: 10.1016/j.ijggc.2018.12.019. [34] BEIS, “Electricity Generation Cost Report 2020,” BEIS Electr. Gener. Cost Rep., no. August, p. 69, 2020. [35] BEIS, “Electricity Generation Costs Report 2016,” BEIS Electr. Gener. Cost Rep., no. November, p. 85, 2016, [Online]. Available: https://www.gov.uk/government/publications/beis-electricity-generation-costs-november-2016.
Maximum capacity that can be installed [MW]
node | Reference location | Georeference [coordinates] | Rooftop solar PV | Utility-scale solar | Onshore wind | Offshore wind | Nuclear powerplant | Hydropower plant
1 | Inverness | -4.2308,57.4726 | 271.0339 | 0 | 6806.4 | 13333.3333 | 0 | 786
2 | Perth | -3.4595,56.4230 | 220.3151 | 0 | 8547.84 | 0 | 0 | 1204
3 | Aberdeen | -2.1301,57.1462 | 349.7344 | 0 | 4675.2 | 13333.3333 | 0 | 0
4 | Stirling | -3.9409,56.1210 | 495.915 | 0 | 706.56 | 13333.3333 | 0 | 50
5 | Renfrew | -4.41638,55.87424 | 1440.4688 | 0 | 7077.12 | 0 | 3800 | 50
6 | Blantype | -4.0870,55.7910 | 1342.287 | 0 | 3957.12 | 0 | 0 | 0
7 | Haddington | -2.78166,55.95282 | 418.8188 | 0 | 1578.24 | 13333.3333 | 0 | 0
8 | Kelso | -2.43184,55.59914 | 226.9646 | 0 | 0 | 0 | 0 | 0
9 | Charlisle | -2.93494,54.89387 | 211.6654 | 0 | 2883.84 | 13333.3333 | 0 | 0
10 | Newcastle upon Tyne | -1.60834,54.97089 | 1822.7587 | 0 | 2064 | 0 | 0 | 0
11 | Preston | -2.7036,53.7586 | 1147.5412 | 0 | 243.84 | 13333.3333 | 0 | 0
12 | Chester | -2.8852,53.1574 | 1138.26 | 0 | 0 | 6000 | 2700 | 0
13 | Manchester | -2.3110,53.4362 | 2085.51 | 0 | 2645.76 | 0 | 0 | 0
14 | Selby | -1.0594,53.7847 | 857.2537 | 0 | 2273.28 | 0 | 0 | 0
15 | Sheffield | -1.4528,53.3688 | 1505.5275 | 2640.443 | 1601.28 | 0 | 0 | 0
16 | Scunthorpe | -0.6464,53.5776 | 429.4875 | 0 | 170.88 | 13333.3333 | 0 | 0
17 | Leicester | -1.1432,52.6259 | 846.06 | 0 | 0 | 0 | 0 | 1.89
18 | Warwick | -1.5566,52.2711 | 2150.7525 | 0 | 560.64 | 0 | 0 | 8.41
19 | Wishbech | 0.1566,52.6505 | 353.9261 | 9050.7018 | 6007.68 | 6000 | 0 | 0
20 | Colchester | 0.9080,51.8962 | 671.1487 | 9151.9821 | 0 | 6000 | 3200 | 0
21 | Chelmsford | 0.4720,51.7341 | 666.2325 | 14196.0349 | 2380.8 | 0 | 0 | 0
22 | Milton Keynes | -0.7589,52.0432 | 719.6287 | 0 | 0 | 0 | 0 | 0
23 | Swindon | -1.79008,51.55665 | 323.3524 | 3454.9448 | 0 | 0 | 2700 | 0
24 | Reading | -0.9641,51.4423 | 1303.0162 | 0 | 0 | 0 | 0 | 0
25 | London | -0.1513,51.5204 | 2502.8587 | 5058.754 | 0 | 0 | 0 | 0
26 | Maidstone | 0.6266,51.2965 | 972.8887 | 4493.501 | 0 | 13333.3333 | 2400 | 0
27 | New Romnea | 0.9329,51.0433 | 269.493 | 9222.7739 | 881.28 | 13333.3333 | 0 | 0
28 | Portsmounth | -1.0773,50.8781 | 1017.2025 | 10021.0801 | 0 | 6000 | 0 | 0
29 | Bridgwater | -2.9362,51.0924 | 511.6725 | 9408.2496 | 6410.88 | 6000 | 3200 | 0

## Thermal Plant Emission Factor
Metadata: The average lifecycle emission of these thermal energy productions in Europe is considered in the analysis - this approach is more sophisticated than the conventional approach where only the operational (scope 1) emissions are considered, allowing for the consideration of the carbon emitted throughout the whole supply chain, comprehensively representing the carbon that needs to be offset to reach net zero due to the utilization of thermal peaking plants. |  | Return to Home
Utilization of Data: The emission factor are used to quantify the emissions associated with thermal energy produced to meet the system's supply-demand discreapancy, TTP.
Assumptions: The utilization of European average emission factors is reasonable as Great Britain will likely be importing fossil fuel and biomass feedstocks from the rest of Europe in the future, given the declining fossil fuel production trend in the UK, and the fact that import feedstocks have already been a major part of the bioelectric industry in Great Britain.
Reference: B. Koffi, A. Cerutti, M. Duerr, A. Iancu, A. Kona, and G. Janssens-Maenhout, “CoM Default Emission Factors for the Member States of the European Union Dataset -Version 2017,” Eur. Comm. - Jt. Res. Cent., p. 13, 2017, [Online]. Available: http://data.europa.eu/89h/jrc-com-ef-comw-ef-2017 2.
Thermal Generation Type | Emissions factor [tonCO2e/MWh]
Natural Gas | 0.24
Bioelectric | 0.184
Modern Coal | 0.363
https://api.carbonintensity.org.uk/intensity/factors

## Carbon Abatement Cost
Metadata: The initial carbon abatement cost for 2025 is obtained from literature - assuming nature-based solution to be reforestation, and carbon capture and storage to be the utilization of direct air capture technology. A generic 3.5% discount rate recommended by HM Treasury is adopted to reflect UK's inflations. |  |  |  |  | Return to Home
Utilization of Data: The carbon abatement cost data for each year is used to quantify the cost needed to deploy negative emissions solutions, eNBy and eCSy, for reaching a set carbon target, namely, emax.
Assumptions: The unit cost of carbon abatement solution is assumed to be constant across time before discounting, however, when technological advancement and economy of scale is realized, these value can be updated to reflect the true cost of carbon abatements.
References: [1] B. W. Griscom et al., “Natural climate solutions,” Proc. Natl. Acad. Sci. U. S. A., vol. 114, no. 44, pp. 11645–11650, 2017, doi: 10.1073/pnas.1710465114. [2] H. A. Daggash, C. F. Heuberger, and N. Mac Dowell, “The role and value of negative emissions technologies in decarbonising the UK energy system,” Int. J. Greenh. Gas Control, vol. 81, no. July 2018, pp. 181–198, 2019, doi: 10.1016/j.ijggc.2018.12.019.
| Discounted Carbon Abatement Cost [£/tonCO2e] |  | Discount rate: | 0.035
Year | Nature-based Solution | Carbon Capture and Storage | Year in operation
2025 | 70.84 | 390 | 0
2026 | 68.4444 | 376.8116 | 1
2027 | 66.1299 | 364.0692 | 2
2028 | 63.8936 | 351.7577 | 3
2029 | 61.733 | 339.8625 | 4
2030 | 59.6454 | 328.3695 | 5
2031 | 57.6284 | 317.2653 | 6
2032 | 55.6796 | 306.5365 | 7
2033 | 53.7967 | 296.1705 | 8
2034 | 51.9775 | 286.1551 | 9
2035 | 50.2198 | 276.4783 | 10
2036 | 48.5216 | 267.1288 | 11
2037 | 46.8807 | 258.0955 | 12
2038 | 45.2954 | 249.3676 | 13
2039 | 43.7637 | 240.9349 | 14
2040 | 42.2837 | 232.7873 | 15
2041 | 40.8538 | 224.9153 | 16
2042 | 39.4723 | 217.3095 | 17
2043 | 38.1375 | 209.9608 | 18
2044 | 36.8478 | 202.8607 | 19
2045 | 35.6018 | 196.0007 | 20
2046 | 34.3978 | 189.3727 | 21
2047 | 33.2346 | 182.9687 | 22
2048 | 32.1108 | 176.7814 | 23
2049 | 31.0249 | 170.8033 | 24
2050 | 29.9757 | 165.0273 | 25

## Nature-based Solution Limits
Metadata: Six outlooks for nature-based solution carbon abatement limit is developed - these are used for the sensitivity analysis section for result and discussions, comparing the system configuration and total cost involved if more negative abatement potential is created via reforestation. The base case is created using UK's current Land Use, Land-Use Change and Forestry (LULUCF) potential that was reported by the government; while the achieving 2025 target scenario analyzed the total carbon abatement potential of nature-based solutions if the government target for reforestration is achieved. On top of that, four further scenarios are developed using the assumption in which different percentage of total UK further reforestation potential estimated by the British Ecological Society is realized. |  |  | Return to Home
Utilization of Data: The total emission abatement potential is used as the limit on emissions from thermal powerplant that can be offset via nature-based solutions in each year, emax.
Assumptions: Contraints on competing land use interest for renewable energy deployment are internalized by the scenarios developed for sensitivity analysis.
References: [1] H. Malcolm, P. Henshall, and R. Matthews, “Mapping Carbon Emissions & Removals for the Land Use , Land Use Change & Forestry Sector,” Natl. Atmos. Emiss. Invent., no. June, 2019. [2] R. Stafford, B. Chamberlain, P. Gillingham, and S. Mckain, “Nature-based Solutions for Climate Change in the UK: A report by the British Ecological Society,” Br. Ecol. Soc. Publ., 2021.
Outlook | additional_abatement_tonCO2e/year | total_abatement_tonCO2e/year
BAU_current_LULUCF | 3404168.814 | 3404168.814
acieving_2025_target | 2000000 | 5404168.814
25%_future_potential_realized | 4750000 | 10154168.814
50%_future_potential_realized | 4750000 | 14904168.814
75%_future_potential_realized | 4750000 | 19654168.814
100%_future_potential_realized | 4750000 | 24404168.814

## Load Shedding Cost
Metadata: As the model aims to validate the least cost option from a governmental standpoint, the load shedding cost is assumed to be the weighted average of Value of Loss Load (VoLL) in the UK provided by BEIS - representing the social cost of power curtailment involved. A generic 3.5% discount rate recommended by HM Treasury is adopted to reflect UK's inflations. |  |  | Return to Home
Assumptions: The weighted average of VoLL is used for all nodes assuming a unified distribution of social cost across all locations - this simplified approach is reasonable given the high load shedding cost in the base year will likely result in minimal load shedding, manifesting a low curtailment throughout 25 years of operation.
Utilization of Data: The annual load shedding cost is used to qualify the cost incur in power curtailment, LLSy.
References: London Economics, “The Value of Lost Load (VoLL) for Electricity in Great Britain: Final report for OFGEM and DECC,” Reports OFGEM DECC, no. July, pp. 1–225, 2013
|  | Discount rate: | 0.035
Year | Discounted Load Shedding Cost [£/MWh] | year in operation
2025 | 16940 | 0
2026 | 16367.1498 | 1
2027 | 15813.6713 | 2
2028 | 15278.9094 | 3
2029 | 14762.2313 | 4
2030 | 14263.0254 | 5
2031 | 13780.7009 | 6
2032 | 13314.6869 | 7
2033 | 12864.4318 | 8
2034 | 12429.4027 | 9
2035 | 12009.0847 | 10
2036 | 11602.9804 | 11
2037 | 11210.6091 | 12
2038 | 10831.5064 | 13
2039 | 10465.2235 | 14
2040 | 10111.3271 | 15
2041 | 9769.3981 | 16
2042 | 9439.032 | 17
2043 | 9119.8377 | 18
2044 | 8811.4374 | 19
2045 | 8513.4661 | 20
2046 | 8225.5711 | 21
2047 | 7947.4117 | 22
2048 | 7678.6586 | 23
2049 | 7418.9938 | 24
2050 | 7168.11 | 25
richard toll

## Interconnectors Detail
Metadata: The technical characteristic of existing interconnectors is obtained from the NationGrid website. The most discussed proposed interconnector with each country is considered in the analysis, ensuring that only real-life projects likely to be approved by the government are considered in the analysis. The cost of electricity import and export for each interconnector is obtained from comparing the 2019 average wholesale electricity price at each country involved. The 2019 data is used as it is the latest available data pre-pandemic - this is because the electricity cost has plummeted throughout the pandemic, however, analysis suggests that the cost is expected to rebound post-pandemic. The initial electricity import cost is assumed to be the wholesale electricity cost in each country as it represents the minimum price that each neighbouring countries would be willing to sell their electricity to Great Britain instead of using them domestically. On the other hand, given that the UK has a relatively high electricity price compared to most interconnecting countries, the lower price between UK wholesale price and respective country's wholesale price is taken as the potential export revenue - representing the willingness to pay for each connected country. A generic 3.5% discount rate recommended by HM Treasury is adopted to reflect UK's inflations. The CAPEX of each candidate interconnector is obtained from the official governmental documents - however, only the share of CAPEX that the UK is responsible for paying is considered, allowing for an analysis that focuses on the minimization of the low carbon energy transition cost incurred by Great Britain. | [8 empty] | Return to Home
Assumptions: The cost of international electricity trading is assumed to be constant for each interconnector - this approach is taken as the future cost of electricity trading can be highly uncertain as they are contingent on the emerges of new market design, as well as the future supply and demand dynamics of each country's power system - a factor that the central planner at Great Britain has no direct control over. The grid intensity of electricity import is not considered, however, future work can be performed to estimate the impact of cross-border carbon pricing/ adjustment as proposed by Hepburn et al.
Utilization of Data: The discounted electrcity import and export cost via each interconnector is used to determine the quantity of energy import in time of supply shortfall, as well as the potential export revenue in time of excess generation.
References: G. C. Gissey et al., [1] “The value of international electricity trading,” 2019. [2] European Commission, “Energy Prices and Costs in Europe: Report from The Commission to the European Parliament, the Council, the European Economic and Social Committee and The Committee of the Regions,” 2020. [3] Fraunhofer Institute for Systems and Innovation Research ISI, “Electricity costs of energy intensive industries in Iceland: A comparison with energy intensive industries in selected countries,” 2020. [4] European Commission, “Quarterly Report on European Electricity Markets (first quarter of 2019),” Mark. Obs. Energy, vol. 12, no. 1, first quarter of 2019, pp. 1–39, 2019. [5] European Commission, “Quarterly Report on European Electricity Markets (second quarter of 2019),” Mark. Obs. Energy, vol. 12, no. 2, 2019. [6] European Commission, “Quarterly Report on European Electricity Markets (third quarter of 2019),” Mark. Obs. Energy, vol. 13, no. 3, 2019. [7] European Commission, “Quarterly Report on European Electricity Markets (fourth quarter of 2019),” Mark. Obs. Energy, vol. 12, no. 4 4thQ 2019, 2020. [8] Commission for Regulation of Utilities, “Greenlink Electricity Interconnector ‘Cap and Floor Regulatory Framework,’” 2021. [9] Ofgem, “Consultation: Cap and floor regime: Initial Project Assessment of the FAB Link , IFA2 , Viking Link and Greenlink interconnectors. Office of Gas and Electricity Markets,” 2015. [Online]. Available: https://www.ofgem.gov.uk/publications-and-updates/cap-and-floor-regime-initial-project-assessment-fab-link-ifa2-viking-link-and-greenlink-interconnectors. [10] Aquind Limited, “Exhibit 1: AQUIND revenue and social welfare analysis 2020,” 2020.
Country | Average Wholesale Electricity Price in 2019 [£/MWh]
Great Britain | 43.0096
Ireland | 44.1282
Norway | 34.2147
Denmark | 34.2586
Netherlands | 36.1799
Germany | 33.0523
Belgium | 34.5876
France | 35.0262
Iceland | 32.907
Interconnector | Classification | Current Carrying Capacity [MW] | From | To | CAPEX [million £] | Electricity Import Cost [£/MWh] | Electricity Export Cost [£/MWh]
Moyle | Existing | 500 | Node 5 | Northern Ireland | - | 44.1 | 43
North Sea Link | Existing | 1400 | Node 7 | Norway | - | 34.2 | 34.2
East-West | Existing | 500 | Node 12 | Ireland | - | 44.1 | 43
Viking Link | Existing | 1400 | Node 19 | Denmark | - | 34.3 | 34.3
BritNed | Existing | 1000 | Node 20 | Netherland | - | 36.2 | 36.2
Nemo Link | Existing | 1000 | Node 26 | Belgium | - | 34.6 | 34.6
IFA 1 | Existing | 2000 | Node 27 | France | - | 35 | 35
IFA 2 | Existing | 1000 | Node 28 | France | - | 35 | 35
North Connect | Existing | 1400 | Node 3 | Norway | - | 34.2 | 34.2
Ice Link | Candidate | 1000 | Node 1 | Iceland | 1425.6125 | 32.9 | 32.9
Green Link | Candidate | 500 | Node 8 | Ireland | 197.8312 | 44.1 | 43
Neu Connect | Candidate | 1400 | Node 26 | Germany | 328.9875 | 33.1 | 33.1
FAB Link | Candidate | 1200 | Node 29 | France | 584.5011 | 35 | 35
| Discounted Electricity Import Cost [£/MWh] | [12 empty] | Discount Rate: | 0.035
Year | Moyle | North Sea Link | East-West | Viking Link | BritNed | Nemo Link | IFA 1 | IFA 2 | North Connect | Ice Link | Green Link | Neu Connect | FAB Link | years in operation
2025 | 44.1 | 34.2 | 44.1 | 34.3 | 36.2 | 34.6 | 35 | 35 | 34.2 | 32.9 | 44.1 | 33.1 | 35 | 0
2026 | 42.6087 | 33.0435 | 42.6087 | 33.1401 | 34.9758 | 33.43 | 33.8164 | 33.8164 | 33.0435 | 31.7874 | 42.6087 | 31.9807 | 33.8164 | 1
2027 | 41.1678 | 31.9261 | 41.1678 | 32.0194 | 33.7931 | 32.2995 | 32.6729 | 32.6729 | 31.9261 | 30.7125 | 41.1678 | 30.8992 | 32.6729 | 2
2028 | 39.7757 | 30.8464 | 39.7757 | 30.9366 | 32.6503 | 31.2072 | 31.568 | 31.568 | 30.8464 | 29.6739 | 39.7757 | 29.8543 | 31.568 | 3
2029 | 38.4306 | 29.8033 | 38.4306 | 29.8905 | 31.5462 | 30.1519 | 30.5005 | 30.5005 | 29.8033 | 28.6704 | 38.4306 | 28.8447 | 30.5005 | 4
2030 | 37.131 | 28.7955 | 37.131 | 28.8797 | 30.4794 | 29.1323 | 29.4691 | 29.4691 | 28.7955 | 27.7009 | 37.131 | 27.8693 | 29.4691 | 5
2031 | 35.8754 | 27.8217 | 35.8754 | 27.9031 | 29.4487 | 28.1471 | 28.4725 | 28.4725 | 27.8217 | 26.7642 | 35.8754 | 26.9269 | 28.4725 | 6
2032 | 34.6622 | 26.8809 | 34.6622 | 26.9595 | 28.4529 | 27.1953 | 27.5097 | 27.5097 | 26.8809 | 25.8591 | 34.6622 | 26.0163 | 27.5097 | 7
2033 | 33.49 | 25.9719 | 33.49 | 26.0478 | 27.4907 | 26.2756 | 26.5794 | 26.5794 | 25.9719 | 24.9846 | 33.49 | 25.1365 | 26.5794 | 8
2034 | 32.3575 | 25.0936 | 32.3575 | 25.167 | 26.5611 | 25.3871 | 25.6806 | 25.6806 | 25.0936 | 24.1397 | 32.3575 | 24.2865 | 25.6806 | 9
2035 | 31.2633 | 24.245 | 31.2633 | 24.3159 | 25.6629 | 24.5286 | 24.8122 | 24.8122 | 24.245 | 23.3234 | 31.2633 | 23.4652 | 24.8122 | 10
2036 | 30.2061 | 23.4251 | 30.2061 | 23.4936 | 24.795 | 23.6991 | 23.9731 | 23.9731 | 23.4251 | 22.5347 | 30.2061 | 22.6717 | 23.9731 | 11
2037 | 29.1846 | 22.633 | 29.1846 | 22.6992 | 23.9566 | 22.8977 | 23.1624 | 23.1624 | 22.633 | 21.7727 | 29.1846 | 21.905 | 23.1624 | 12
2038 | 28.1977 | 21.8676 | 28.1977 | 21.9316 | 23.1464 | 22.1234 | 22.3791 | 22.3791 | 21.8676 | 21.0364 | 28.1977 | 21.1643 | 22.3791 | 13
2039 | 27.2442 | 21.1281 | 27.2442 | 21.1899 | 22.3637 | 21.3752 | 21.6224 | 21.6224 | 21.1281 | 20.325 | 27.2442 | 20.4486 | 21.6224 | 14
2040 | 26.3229 | 20.4137 | 26.3229 | 20.4733 | 21.6074 | 20.6524 | 20.8912 | 20.8912 | 20.4137 | 19.6377 | 26.3229 | 19.7571 | 20.8912 | 15
2041 | 25.4327 | 19.7233 | 25.4327 | 19.781 | 20.8768 | 19.954 | 20.1847 | 20.1847 | 19.7233 | 18.9736 | 25.4327 | 19.089 | 20.1847 | 16
2042 | 24.5727 | 19.0564 | 24.5727 | 19.1121 | 20.1708 | 19.2793 | 19.5021 | 19.5021 | 19.0564 | 18.332 | 24.5727 | 18.4434 | 19.5021 | 17
2043 | 23.7417 | 18.412 | 23.7417 | 18.4658 | 19.4887 | 18.6273 | 18.8426 | 18.8426 | 18.412 | 17.7121 | 23.7417 | 17.8198 | 18.8426 | 18
2044 | 22.9389 | 17.7893 | 22.9389 | 17.8413 | 18.8296 | 17.9974 | 18.2054 | 18.2054 | 17.7893 | 17.1131 | 22.9389 | 17.2172 | 18.2054 | 19
2045 | 22.1632 | 17.1878 | 22.1632 | 17.238 | 18.1929 | 17.3888 | 17.5898 | 17.5898 | 17.1878 | 16.5344 | 22.1632 | 16.6349 | 17.5898 | 20
2046 | 21.4137 | 16.6065 | 21.4137 | 16.6551 | 17.5777 | 16.8008 | 16.995 | 16.995 | 16.6065 | 15.9753 | 21.4137 | 16.0724 | 16.995 | 21
2047 | 20.6895 | 16.045 | 20.6895 | 16.0919 | 16.9833 | 16.2326 | 16.4203 | 16.4203 | 16.045 | 15.4351 | 20.6895 | 15.5289 | 16.4203 | 22
2048 | 19.9899 | 15.5024 | 19.9899 | 15.5477 | 16.4089 | 15.6837 | 15.865 | 15.865 | 15.5024 | 14.9131 | 19.9899 | 15.0038 | 15.865 | 23
2049 | 19.3139 | 14.9781 | 19.3139 | 15.0219 | 15.854 | 15.1533 | 15.3285 | 15.3285 | 14.9781 | 14.4088 | 19.3139 | 14.4964 | 15.3285 | 24
2050 | 18.6608 | 14.4716 | 18.6608 | 14.5139 | 15.3179 | 14.6409 | 14.8101 | 14.8101 | 14.4716 | 13.9215 | 18.6608 | 14.0062 | 14.8101 | 25
Discounted Electricity Export Cost [£/MWh]
Year | Moyle | North Sea Link | East-West | Viking Link | BritNed | Nemo Link | IFA 1 | IFA 2 | North Connect | Ice Link | Green Link | Neu Connect | FAB Link | years in operation
2025 | 43 | 34.2 | 43 | 34.3 | 36.2 | 34.6 | 35 | 35 | 34.2 | 32.9 | 43 | 33.1 | 35 | 0
2026 | 41.5459 | 33.0435 | 41.5459 | 33.1401 | 34.9758 | 33.43 | 33.8164 | 33.8164 | 33.0435 | 31.7874 | 41.5459 | 31.9807 | 33.8164 | 1
2027 | 41.1678 | 31.9261 | 40.141 | 32.0194 | 33.7931 | 32.2995 | 32.6729 | 32.6729 | 31.9261 | 30.7125 | 40.141 | 30.8992 | 32.6729 | 2
2028 | 39.7757 | 30.8464 | 38.7835 | 30.9366 | 32.6503 | 31.2072 | 31.568 | 31.568 | 30.8464 | 29.6739 | 38.7835 | 29.8543 | 31.568 | 3
2029 | 38.4306 | 29.8033 | 37.472 | 29.8905 | 31.5462 | 30.1519 | 30.5005 | 30.5005 | 29.8033 | 28.6704 | 37.472 | 28.8447 | 30.5005 | 4
2030 | 37.131 | 28.7955 | 36.2048 | 28.8797 | 30.4794 | 29.1323 | 29.4691 | 29.4691 | 28.7955 | 27.7009 | 36.2048 | 27.8693 | 29.4691 | 5
2031 | 35.8754 | 27.8217 | 34.9805 | 27.9031 | 29.4487 | 28.1471 | 28.4725 | 28.4725 | 27.8217 | 26.7642 | 34.9805 | 26.9269 | 28.4725 | 6
2032 | 34.6622 | 26.8809 | 33.7976 | 26.9595 | 28.4529 | 27.1953 | 27.5097 | 27.5097 | 26.8809 | 25.8591 | 33.7976 | 26.0163 | 27.5097 | 7
2033 | 33.49 | 25.9719 | 32.6547 | 26.0478 | 27.4907 | 26.2756 | 26.5794 | 26.5794 | 25.9719 | 24.9846 | 32.6547 | 25.1365 | 26.5794 | 8
2034 | 32.3575 | 25.0936 | 31.5504 | 25.167 | 26.5611 | 25.3871 | 25.6806 | 25.6806 | 25.0936 | 24.1397 | 31.5504 | 24.2865 | 25.6806 | 9
2035 | 31.2633 | 24.245 | 30.4835 | 24.3159 | 25.6629 | 24.5286 | 24.8122 | 24.8122 | 24.245 | 23.3234 | 30.4835 | 23.4652 | 24.8122 | 10
2036 | 30.2061 | 23.4251 | 29.4527 | 23.4936 | 24.795 | 23.6991 | 23.9731 | 23.9731 | 23.4251 | 22.5347 | 29.4527 | 22.6717 | 23.9731 | 11
2037 | 29.1846 | 22.633 | 28.4567 | 22.6992 | 23.9566 | 22.8977 | 23.1624 | 23.1624 | 22.633 | 21.7727 | 28.4567 | 21.905 | 23.1624 | 12
2038 | 28.1977 | 21.8676 | 27.4944 | 21.9316 | 23.1464 | 22.1234 | 22.3791 | 22.3791 | 21.8676 | 21.0364 | 27.4944 | 21.1643 | 22.3791 | 13
2039 | 27.2442 | 21.1281 | 26.5646 | 21.1899 | 22.3637 | 21.3752 | 21.6224 | 21.6224 | 21.1281 | 20.325 | 26.5646 | 20.4486 | 21.6224 | 14
2040 | 26.3229 | 20.4137 | 25.6663 | 20.4733 | 21.6074 | 20.6524 | 20.8912 | 20.8912 | 20.4137 | 19.6377 | 25.6663 | 19.7571 | 20.8912 | 15
2041 | 25.4327 | 19.7233 | 24.7984 | 19.781 | 20.8768 | 19.954 | 20.1847 | 20.1847 | 19.7233 | 18.9736 | 24.7984 | 19.089 | 20.1847 | 16
2042 | 24.5727 | 19.0564 | 23.9598 | 19.1121 | 20.1708 | 19.2793 | 19.5021 | 19.5021 | 19.0564 | 18.332 | 23.9598 | 18.4434 | 19.5021 | 17
2043 | 23.7417 | 18.412 | 23.1495 | 18.4658 | 19.4887 | 18.6273 | 18.8426 | 18.8426 | 18.412 | 17.7121 | 23.1495 | 17.8198 | 18.8426 | 18
2044 | 22.9389 | 17.7893 | 22.3667 | 17.8413 | 18.8296 | 17.9974 | 18.2054 | 18.2054 | 17.7893 | 17.1131 | 22.3667 | 17.2172 | 18.2054 | 19
2045 | 22.1632 | 17.1878 | 21.6103 | 17.238 | 18.1929 | 17.3888 | 17.5898 | 17.5898 | 17.1878 | 16.5344 | 21.6103 | 16.6349 | 17.5898 | 20
2046 | 21.4137 | 16.6065 | 20.8795 | 16.6551 | 17.5777 | 16.8008 | 16.995 | 16.995 | 16.6065 | 15.9753 | 20.8795 | 16.0724 | 16.995 | 21
2047 | 20.6895 | 16.045 | 20.1735 | 16.0919 | 16.9833 | 16.2326 | 16.4203 | 16.4203 | 16.045 | 15.4351 | 20.1735 | 15.5289 | 16.4203 | 22
2048 | 19.9899 | 15.5024 | 19.4913 | 15.5477 | 16.4089 | 15.6837 | 15.865 | 15.865 | 15.5024 | 14.9131 | 19.4913 | 15.0038 | 15.865 | 23
2049 | 19.3139 | 14.9781 | 18.8322 | 15.0219 | 15.854 | 15.1533 | 15.3285 | 15.3285 | 14.9781 | 14.4088 | 18.8322 | 14.4964 | 15.3285 | 24
2050 | 18.6608 | 14.4716 | 18.1953 | 14.5139 | 15.3179 | 14.6409 | 14.8101 | 14.8101 | 14.4716 | 13.9215 | 18.1953 | 14.0062 | 14.8101 | 25

## Transmission Network Technical
Metadata: The technical data are retrived from University of Edinburgh's Great Britain Reduced Network model. | [5 empty] | Return to Home
Assumptions: The simplified network is utilized for simplisic analysis in this work.
Utilization of Data: The reduced network is used throughout the entire report.
References: [1] https://www.maths.ed.ac.uk/optenergy/NetworkData/reducedGB/ [2] T. Brown, P.-P. Schierhorn, E. Troster, and T. Ackermann, “Optimising the European transmissionsystem for 77% renewable electricity by 2030,” Journals Inst. Eng. Technol., vol. 10, no. 1, pp. 3–9, 2015, doi: 0.1049/iet-rpg.2015.0135.
from_bus | to_bus | Power Rating [MVA] | Reactance [p.u.] | Length [km] | Investment Cost of Parallel Candidate Line [£] |  | Transmission Network Investment Cost: | 382 | £/MVAkm
1 | 2 | 525 | 0.02 | 76.9 | 15422295
1 | 3 | 132 | 0.15 | 153.6 | 7745126.4
1 | 2 | 525 | 0.02 | 76.9 | 15422295
1 | 3 | 132 | 0.15 | 153.6 | 7745126.4
2 | 4 | 760 | 0.065 | 84.91 | 24651071.2
2 | 4 | 760 | 0.065 | 84.91 | 24651071.2
4 | 7 | 1090 | 0.0135 | 87.42 | 36399939.6
4 | 6 | 1500 | 0.023 | 30.69 | 17585370
4 | 6 | 1120 | 0.023 | 30.69 | 13130409.6
4 | 5 | 1000 | 0.024 | 40.25 | 15375500
4 | 5 | 1000 | 0.024 | 40.25 | 15375500
4 | 7 | 1090 | 0.0135 | 87.42 | 36399939.6
5 | 6 | 1390 | 0.01051 | 27.26 | 14474514.8
5 | 6 | 1390 | 0.01613 | 27.26 | 14474514.8
6 | 9 | 2100 | 0.00852 | 113.19 | 90801018
6 | 9 | 2100 | 0.00852 | 113.19 | 90801018
7 | 8 | 2180 | 0.0001 | 32.87 | 27372821.2
7 | 8 | 2500 | 0.0001 | 32.87 | 31390850
7 | 6 | 950 | 0.2 | 96.34 | 34961786
7 | 6 | 950 | 0.2 | 96.34 | 34961786
8 | 10 | 3070 | 0.0175 | 64.59 | 75747276.6
8 | 10 | 3070 | 0.0175 | 64.59 | 75747276.6
9 | 11 | 1390 | 0.0163 | 141.68 | 75229246.4
9 | 11 | 1390 | 0.0163 | 141.68 | 75229246.4
9 | 10 | 855 | 0.02453 | 37.82 | 12352390.2
9 | 10 | 775 | 0.0343 | 37.82 | 11196611
10 | 15 | 4840 | 0.00835 | 191.04 | 353210035.2
10 | 15 | 4020 | 0.0063 | 191.04 | 293368665.6
11 | 15 | 2520 | 0.042 | 77.21 | 74325434.4
11 | 15 | 2520 | 0.042 | 77.21 | 74325434.4
11 | 13 | 2170 | 0.0052 | 47.48 | 39358071.2
11 | 13 | 2210 | 0.0052 | 47.48 | 40083565.6
11 | 12 | 3320 | 0.0085 | 70.29 | 89144589.6
11 | 12 | 3320 | 0.0085 | 70.29 | 89144589.6
12 | 13 | 3100 | 0.01078 | 41.38 | 49002196
12 | 18 | 2400 | 0.009 | 105.82 | 97015776
12 | 18 | 2400 | 0.009 | 105.82 | 97015776
12 | 13 | 3100 | 0.01078 | 41.38 | 49002196
13 | 18 | 2400 | 0.007 | 108.67 | 99628656
13 | 18 | 2400 | 0.007 | 108.67 | 99628656
13 | 15 | 1240 | 0.023 | 52.66 | 24943988.8
13 | 15 | 955 | 0.023 | 52.66 | 19210894.6
13 | 14 | 1040 | 0.01163 | 96.75 | 38436840
13 | 14 | 1040 | 0.01201 | 96.75 | 38436840
14 | 16 | 2580 | 0.016 | 28.7 | 28285572
14 | 16 | 625 | 0.018 | 28.7 | 6852125
15 | 16 | 2770 | 0.0052 | 54.98 | 58176537.2
15 | 16 | 5540 | 0.00172 | 54.98 | 116353074.4
15 | 14 | 5000 | 0.00222 | 48.65 | 92921500
15 | 14 | 5000 | 0.00222 | 48.65 | 92921500
16 | 19 | 2780 | 0.0141 | 116.36 | 123569665.6
16 | 19 | 3820 | 0.0141 | 116.36 | 169797166.4
17 | 16 | 2150 | 0.01072 | 95.11 | 78113843
17 | 16 | 1890 | 0.01072 | 95.11 | 68667517.8
17 | 22 | 2100 | 0.0097 | 130.05 | 104326110
17 | 22 | 2100 | 0.0097 | 130.05 | 104326110
18 | 17 | 3100 | 0.0018 | 55.46 | 65675732
18 | 17 | 3460 | 0.0018 | 55.46 | 73302591.2
18 | 23 | 1970 | 0.0096 | 90.11 | 67811379.4
18 | 23 | 1970 | 0.0096 | 90.11 | 67811379.4
20 | 26 | 2780 | 0.0023 | 74.93 | 79572662.8
20 | 26 | 2780 | 0.0023 | 74.93 | 79572662.8
20 | 19 | 1590 | 0.0213 | 108.87 | 66125460.6
20 | 19 | 1590 | 0.0143 | 108.87 | 66125460.6
21 | 16 | 2780 | 0.01824 | 215.04 | 228363878.4
21 | 16 | 2780 | 0.01824 | 215.04 | 228363878.4
21 | 25 | 2780 | 0.01 | 31.53 | 33483598.8
21 | 25 | 2780 | 0.01 | 31.53 | 33483598.8
21 | 20 | 2780 | 0.0048 | 66.82 | 70960167.2
21 | 20 | 2780 | 0.0048 | 66.82 | 70960167.2
21 | 19 | 3030 | 0.0059 | 110.31 | 127679412.6
21 | 19 | 2780 | 0.0059 | 110.31 | 117144807.6
22 | 16 | 2010 | 0.0172 | 200.19 | 153709885.8
22 | 16 | 2010 | 0.0172 | 200.19 | 153709885.8
22 | 25 | 3275 | 0.0041 | 36.03 | 45075331.5
22 | 25 | 3275 | 0.0041 | 36.03 | 45075331.5
22 | 21 | 2780 | 0.00111 | 37.84 | 40184566.4
22 | 21 | 2780 | 0.0061 | 37.84 | 40184566.4
23 | 29 | 2010 | 0.0182 | 91.93 | 70585692.6
23 | 24 | 2780 | 0.0008 | 58.27 | 61880409.2
23 | 24 | 4400 | 0.0007 | 58.27 | 97940216
23 | 22 | 2780 | 0.003 | 106.22 | 112801391.2
23 | 22 | 2770 | 0.003 | 106.22 | 112395630.8
23 | 29 | 2010 | 0.0182 | 91.93 | 70585692.6
24 | 28 | 2210 | 0.007 | 70.4 | 59433088
24 | 25 | 1390 | 0.0091 | 67.36 | 35766812.8
24 | 25 | 1390 | 0.0091 | 67.36 | 35766812.8
24 | 28 | 2210 | 0.007 | 70.4 | 59433088
25 | 26 | 6960 | 0.0057 | 61.77 | 164229134.4
25 | 26 | 5540 | 0.0057 | 61.77 | 130722615.6
27 | 26 | 3100 | 0.00503 | 36.15 | 42808830
27 | 26 | 3100 | 0.00503 | 36.15 | 42808830
28 | 27 | 3070 | 0.00711 | 141.2 | 165590888
28 | 27 | 3070 | 0.00711 | 141.2 | 165590888
29 | 28 | 2780 | 0.00796 | 135.52 | 143916819.2
29 | 28 | 2780 | 0.00796 | 135.52 | 143916819.2
3 | 4 | 648 | 0.041 | 198.65 | 49173026.4
3 | 4 | 648 | 0.041 | 198.65 | 49173026.4
3 | 2 | 652 | 0.077 | 148.68 | 37030835.52